## data
Preliminary data release date: September 2022
Table C14. Electricity consumption and expenditure intensities, 2018
| Electricity consumption | [5 empty] | Electricity expenditures
|  |  |  | Distribution of building-level intensities (kilowatthours [kWh] per square foot) |  |  | per building (thousand dollars) | per square foot (dollars) | per kwh (dollars)
| per building (thousand kWh) | per square foot (kWh) | per worker (thousand kWh) | 25th per- centile | Median | 75th per- centile
All buildings | 214 | 12.6 | 13.7 | 4.2 | 8.7 | 15.8 | 21.2 | 1.26 | 0.099
Building floorspace (square feet)
1,001 to 5,000 | 42 | 14.6 | 10.3 | 4.6 | 9.8 | 18.3 | 4.6 | 1.63 | 0.111
5,001 to 10,000 | 85 | 11.3 | 11.7 | 3.6 | 7.8 | 13.2 | 9 | 1.21 | 0.107
10,001 to 25,000 | 174 | 10.7 | 13.2 | 3.3 | 7.2 | 12.9 | 18.3 | 1.12 | 0.105
25,001 to 50,000 | 435 | 12 | 15.5 | 4.7 | 9.5 | 15.9 | 44.9 | 1.24 | 0.103
50,001 to 100,000 | 847 | 12 | 14.2 | 6 | 10 | 15.8 | 81.1 | 1.15 | 0.096
100,001 to 200,000 | 1843 | 13.1 | 14.9 | 6.3 | 11 | 17.6 | 172.1 | 1.23 | 0.093
200,001 to 500,000 | 4373 | 14.9 | 16.6 | 5.8 | 12 | 19.7 | 413.9 | 1.41 | 0.095
Over 500,000 | 13460 | 14.2 | 12.8 | 6.9 | 11.5 | 19.2 | 1210.9 | 1.28 | 0.09
Principal building activity
Education | 293 | 9.4 | 12.4 | 5.8 | 9.6 | 13.1 | 28.8 | 0.92 | 0.098
Food sales | 329 | 53.3 | 58.5 | 33.1 | 47.4 | 69.9 | 32.6 | 5.27 | 0.099
Food service | 212 | 43.8 | 21 | 22.9 | 39.3 | 58.5 | 20.6 | 4.25 | 0.097
Health care | 698 | 23.8 | 14.4 | 8.4 | 14.2 | 19.8 | 65 | 2.22 | 0.093
Inpatient | 7631 | 28.8 | 18.1 | 22.2 | 30.4 | 35.3 | 653.8 | 2.47 | 0.086
Outpatient | 238 | 17.4 | 10 | 8.4 | 13.8 | 19.1 | 25.9 | 1.89 | 0.109
Lodging | 484 | 14.4 | 34.9 | 8.2 | 14.5 | 24.5 | 46.5 | 1.38 | 0.096
Mercantile | 352 | 16.7 | 20.3 | 7.3 | 12.5 | 20.1 | 32.3 | 1.54 | 0.092
Retail (other than mall) | 205 | 13.7 | 21.9 | 5.1 | 9 | 14.5 | 19.7 | 1.31 | 0.096
Enclosed and strip malls | 657 | 19.6 | 19.4 | 16.3 | 20.1 | 24 | 58.4 | 1.74 | 0.089
Office | 234 | 13.6 | 6.9 | 6.1 | 10.1 | 15.7 | 24.4 | 1.42 | 0.104
Public assembly | 179 | 12.2 | 25.5 | 3.7 | 8.2 | 14.9 | 17.5 | 1.19 | 0.098
Public order and safety | 263 | 13.9 | 13.4 | 8.2 | 13.8 | 15.3 | 25.4 | 1.34 | 0.096
Religious worship | 61 | 4.9 | 12.9 | 2.5 | 4.2 | 7.5 | 6.8 | 0.55 | 0.112
Service | 52 | 7.2 | 9 | 3 | 6.3 | 10.8 | 5.8 | 0.82 | 0.113
Warehouse and storage | 123 | 6 | 13.3 | 1.8 | 4.2 | 8.5 | 13.2 | 0.64 | 0.107
Other | 646 | 29.1 | 42.1 | 2.8 | 12.3 | 25.3 | 65.2 | 2.94 | 0.101
Vacant | 41 | 4.1 | Q | 0.8 | 2.6 | 7.1 | 4.2 | 0.42 | 0.102
Year constructed
Before 1920 | 109 | 9.9 | 12.6 | 3 | 7.4 | 11.5 | 11.2 | 1.01 | 0.102
1920 to 1945 | 176 | 11.6 | 12.1 | 4.5 | 8.8 | 16.1 | 18.5 | 1.22 | 0.105
1946 to 1959 | 134 | 9.7 | 11.9 | 3 | 7.1 | 13.3 | 13.3 | 0.97 | 0.099
1960 to 1969 | 178 | 11.7 | 13.8 | 3.8 | 8.2 | 17.5 | 17.9 | 1.18 | 0.101
1970 to 1979 | 203 | 12.4 | 14.7 | 4 | 7.4 | 14.7 | 20.4 | 1.24 | 0.101
1980 to 1989 | 241 | 13.6 | 12.2 | 4.3 | 9.6 | 16.5 | 25.2 | 1.43 | 0.105
1990 to 1999 | 212 | 11.8 | 12.9 | 4.3 | 8.8 | 13.8 | 21.1 | 1.18 | 0.1
2000 to 2009 | 295 | 14.7 | 15.9 | 5.4 | 10.6 | 18.4 | 28.5 | 1.42 | 0.097
2010 to 2018 | 274 | 13.8 | 15.1 | 5.3 | 10.3 | 21.4 | 25.3 | 1.28 | 0.092
Census region and division
Northeast | 247 | 12 | 12.4 | 3.6 | 7.2 | 12.8 | 28.3 | 1.38 | 0.115
New England | 159 | 11.6 | 11.7 | 3.4 | 7.1 | 11.6 | 24.8 | 1.82 | 0.156
Middle Atlantic | 295 | 12.1 | 12.6 | 3.6 | 7.6 | 13.5 | 30.2 | 1.24 | 0.102
Midwest | 181 | 11.7 | 14.7 | 3.1 | 7.4 | 13.2 | 17.7 | 1.14 | 0.098
East North Central | 191 | 11.8 | 14.4 | 2.9 | 7.3 | 13.8 | 18.9 | 1.17 | 0.099
West North Central | 164 | 11.6 | 15.4 | 3.4 | 7.4 | 12.8 | 15.5 | 1.09 | 0.094
South | 238 | 13.9 | 15.3 | 5.4 | 10.4 | 18.3 | 20.3 | 1.19 | 0.086
South Atlantic | 260 | 14.5 | 15.5 | 5.3 | 10.4 | 18.4 | 23.6 | 1.31 | 0.091
East South Central | 209 | 12.4 | 16.5 | 4.7 | 9.7 | 17.9 | 19.7 | 1.17 | 0.094
West South Central | 219 | 13.7 | 14.7 | 5.7 | 10.6 | 17.5 | 16.1 | 1.01 | 0.073
West | 196 | 12.1 | 11.5 | 4.3 | 8.9 | 14.8 | 23.2 | 1.43 | 0.118
Mountain | 220 | 12.8 | 11.5 | 4.2 | 8.7 | 15.6 | 19 | 1.1 | 0.086
Pacific | 182 | 11.7 | 11.4 | 4.4 | 8.9 | 14.7 | 25.6 | 1.64 | 0.14
Climate zonea
Cold or very cold | 170 | 12.5 | 15.5 | 3.4 | 7.4 | 13.3 | 16.8 | 1.24 | 0.099
Cool | 181 | 11.3 | 13 | 2.8 | 7 | 12 | 18.3 | 1.14 | 0.101
Mixed mild | 274 | 12.9 | 13.5 | 4.6 | 9 | 15.9 | 27.5 | 1.3 | 0.101
Warm | 214 | 13 | 14.9 | 4.8 | 9.7 | 16.9 | 22.1 | 1.34 | 0.103
Hot or very hot | 218 | 14.2 | 13 | 6.6 | 10.9 | 19.3 | 19.4 | 1.26 | 0.089
Number of floors
1 | 138 | 12.5 | 15.2 | 4.1 | 8.7 | 16.6 | 13.8 | 1.25 | 0.1
2 | 195 | 10.7 | 13.3 | 4.1 | 7.9 | 14.1 | 20.1 | 1.1 | 0.103
3 | 348 | 12.1 | 15 | 5.1 | 9.8 | 14.7 | 34.7 | 1.2 | 0.1
4 to 9 | 1388 | 15.1 | 12.8 | 4.9 | 10.4 | 16.8 | 132.7 | 1.44 | 0.096
10 or more | 6352 | 16.7 | 10.1 | 11.1 | 14.6 | 18.7 | 605 | 1.59 | 0.095
Elevators and escalators (more than one may apply)
Any elevators | 1023 | 14 | 12.5 | 6.9 | 10.4 | 15.2 | 99.3 | 1.36 | 0.097
1 elevator | 428 | 10.9 | 13.1 | 6.1 | 9.3 | 13.5 | 43.3 | 1.1 | 0.101
2 to 5 elevators | 1657 | 15.1 | 12.9 | 9.3 | 13.3 | 18.2 | 161.1 | 1.46 | 0.097
6 or more elevators | 9477 | 17.4 | 11.6 | 10.2 | 15.2 | 22.7 | 879.4 | 1.61 | 0.093
Any escalators | 4112 | 14.8 | 12.7 | 11.8 | 16.6 | 23.8 | 369.1 | 1.33 | 0.09
Number of workers (main shift)
Fewer than 5 | 55 | 8.3 | 25.2 | 3 | 6.9 | 12.1 | 6 | 0.91 | 0.109
5 to 9 | 109 | 11.8 | 16.6 | 5.5 | 10.2 | 18.3 | 11.1 | 1.2 | 0.102
10 to 19 | 179 | 11.3 | 14.1 | 5.8 | 10.5 | 18.3 | 18.2 | 1.14 | 0.102
20 to 49 | 446 | 13.6 | 15.4 | 7.3 | 11.9 | 22.8 | 44 | 1.34 | 0.099
50 to 99 | 878 | 13.6 | 13.8 | 8 | 11.8 | 17.4 | 86.3 | 1.34 | 0.098
100 to 249 | 1997 | 14.5 | 13.7 | 8.8 | 13.9 | 20.4 | 191.4 | 1.39 | 0.096
250 or more | 5751 | 17.4 | 9 | 10.8 | 15.6 | 23 | 541.5 | 1.64 | 0.094
Weekly operating hours
Fewer than 40 | 57 | 6.9 | 10.5 | 2.5 | 5.1 | 9.5 | 6.1 | 0.74 | 0.108
40 to 48 | 116 | 9.1 | 10.2 | 4.2 | 7.8 | 12.8 | 12 | 0.94 | 0.104
49 to 60 | 184 | 9.9 | 9.2 | 4.4 | 8.6 | 14.5 | 18.7 | 1.01 | 0.102
61 to 84 | 324 | 13.7 | 13.6 | 7.3 | 13.3 | 27.9 | 32.8 | 1.39 | 0.101
85 to 167 | 411 | 17.6 | 22.5 | 9.9 | 23.8 | 48.2 | 40.2 | 1.73 | 0.098
Open continuously | 563 | 19.1 | 21.6 | 6.7 | 13.4 | 24.6 | 52.9 | 1.8 | 0.094
Ownership and occupancy
Nongovernment owned | 201 | 12.9 | 14 | 3.9 | 8.5 | 16.1 | 20.2 | 1.3 | 0.101
Owner occupied | 182 | 12.7 | 15 | 3.7 | 8.2 | 14.7 | 18 | 1.25 | 0.099
Leased to tenant or tenants | 251 | 13.6 | 12.7 | 4.8 | 10.2 | 18.5 | 25.7 | 1.39 | 0.103
Unoccupied | 23 | 2.8 | N | 0.6 | 2.6 | 4 | 2.7 | 0.32 | 0.115
Government owned | 276 | 11.7 | 13 | 5.8 | 9.6 | 14.9 | 26.4 | 1.12 | 0.096
Federal | 385 | 13.9 | 10.3 | 7.6 | 12.9 | 21.4 | 35.1 | 1.26 | 0.091
State | 374 | 13.4 | 15.9 | 7 | 10.7 | 14.7 | 32.7 | 1.18 | 0.087
Local | 223 | 10.5 | 12.1 | 5.1 | 8.9 | 14.2 | 22.8 | 1.07 | 0.102
Party responsible for operation of energy systems
Building owner | 211 | 12.5 | 13.6 | 4.1 | 8.5 | 15 | 20.8 | 1.24 | 0.099
Business owner or tenant | 207 | 12.9 | 15.3 | 4.3 | 10.4 | 21 | 21.5 | 1.34 | 0.103
Property management | 344 | 14.7 | 12.3 | 8.3 | 11.5 | 20.2 | 34 | 1.45 | 0.099
Other | 285 | 14.1 | 12.4 | 6.8 | 9.9 | 19 | 28 | 1.38 | 0.098
Provider of direct input on energy- related equipment purchases
Building owner | 209 | 12.5 | 13.7 | 4.1 | 8.4 | 15 | 20.6 | 1.23 | 0.099
Business owner or tenant | 227 | 14.1 | 16.2 | 4.7 | 12 | 24.2 | 23.5 | 1.46 | 0.104
Property management | 388 | 15.6 | 14 | 3.2 | 9.2 | 20.2 | 38.4 | 1.55 | 0.099
Other | 247 | 12.7 | 12 | 6 | 11 | 19.8 | 26 | 1.34 | 0.105
Number of establishments
1 | 173 | 12.1 | 15.2 | 4.2 | 8.5 | 15.5 | 17.4 | 1.22 | 0.101
2 to 5 | 265 | 13 | 13.3 | 4.6 | 9.9 | 17.1 | 25.6 | 1.26 | 0.097
6 to 10 | 597 | 14.5 | 10.9 | 7.3 | 13.9 | 20.9 | 59.6 | 1.44 | 0.1
11 to 20 | 988 | 16 | 10.8 | 8.4 | 14.9 | 20.2 | 98.5 | 1.6 | 0.1
More than 20 | 3201 | 15.5 | 9.5 | 9.8 | 14.1 | 19.5 | 299.8 | 1.45 | 0.094
Currently unoccupied | 30 | 3.2 | N | 0.6 | 2.6 | 6 | 3.2 | 0.35 | 0.106
Predominant exterior wall material
Brick, stone, or stucco | 251 | 13.3 | 13.7 | 5.2 | 9.9 | 18 | 24.2 | 1.28 | 0.097
Concrete (block or poured) | 292 | 13.6 | 17.3 | 4 | 9.1 | 18.1 | 28.9 | 1.34 | 0.099
Concrete panels | 699 | 11.5 | 12 | 3.8 | 7.8 | 15.3 | 72.8 | 1.2 | 0.104
Siding or shingles | 83 | 12.9 | 13.8 | 4.8 | 8.7 | 15.8 | 8.9 | 1.38 | 0.107
Metal panels | 84 | 8.3 | 13.5 | 2.6 | 6.3 | 10.3 | 8.8 | 0.86 | 0.104
Window glass | 1781 | 15.7 | 7.6 | 11.7 | 19.5 | 25.2 | 189.4 | 1.67 | 0.106
Other | 245 | 14.2 | 11.1 | 4.4 | 9.2 | 15.4 | 26.3 | 1.52 | 0.107
Predominant roof material
Metal surfacing | 98 | 9.8 | 14.4 | 3.2 | 7.3 | 12 | 9.6 | 0.96 | 0.098
Synthetic or rubber | 489 | 14.4 | 14.2 | 5.6 | 10.5 | 20.3 | 47.7 | 1.4 | 0.098
Built-up | 376 | 13.7 | 13.4 | 5.4 | 10.4 | 19 | 36.9 | 1.34 | 0.098
Slate or tile shingles | 122 | 11.4 | 11.6 | 5.6 | 10.8 | 18.3 | 13.6 | 1.27 | 0.111
Wooden materials (including shingles) | 105 | 10.8 | 10.5 | 6.6 | 11.4 | 18.3 | 12.4 | 1.27 | 0.117
Asphalt, fiberglass, or other shingles | 122 | 11.2 | 13.1 | 3.9 | 8.5 | 14.5 | 12.8 | 1.17 | 0.105
Concrete | 400 | 16.7 | 16.8 | 6.5 | 16.2 | 20.1 | 37.3 | 1.56 | 0.093
Other | 299 | 13.1 | 13.3 | 4.1 | 9.3 | 19.1 | 30.3 | 1.32 | 0.101
Roof tilt
Flat | 420 | 14.4 | 13.8 | 5.9 | 10.6 | 20 | 41 | 1.4 | 0.098
Shallow pitch | 132 | 10.5 | 13.8 | 3.8 | 8 | 14.4 | 13.5 | 1.07 | 0.102
Steeper pitch | 88 | 10.1 | 13.3 | 3.6 | 7.8 | 12.9 | 9.2 | 1.05 | 0.104
Cool roof characteristics (more than one may apply)
White or reflective coating or paint | 369 | 14 | 14.1 | 4.6 | 9.6 | 18.4 | 35.8 | 1.36 | 0.097
White or reflective tiles or shingles | 324 | 16.1 | 16.9 | 7 | 10.9 | 17.9 | 31 | 1.54 | 0.096
Aluminum coating | 131 | 11.1 | 14.4 | 4.1 | 8.3 | 13.9 | 13 | 1.1 | 0.099
Ballasted roof system | 790 | 14.3 | 13 | 4.5 | 8.9 | 17.8 | 73.6 | 1.33 | 0.093
Other cool roof property | 688 | 15.2 | 10.3 | 11.9 | 17.9 | 20.5 | 65.3 | 1.44 | 0.095
Renovations since 2000 (more than one may apply)
Any type of renovation | 297 | 13.1 | 13.1 | 4.6 | 9.1 | 16.7 | 29.3 | 1.3 | 0.099
Addition or annex | 453 | 13.7 | 15.5 | 5.2 | 9.7 | 20.1 | 43.8 | 1.32 | 0.097
Reduction in floorspace | 766 | 15 | 11.3 | 5.4 | 14.2 | 22 | 73.6 | 1.44 | 0.096
Roof replacement | 328 | 13.1 | 13.2 | 4.2 | 9.1 | 17.3 | 32 | 1.28 | 0.098
Interior wall reconfiguration | 400 | 13.4 | 11 | 5.9 | 9.6 | 15.2 | 39.4 | 1.32 | 0.098
Window replacement | 286 | 12.6 | 12.1 | 4.1 | 8.7 | 17.2 | 28.2 | 1.24 | 0.098
HVAC equipment upgrade | 374 | 13.5 | 12.9 | 4.9 | 9.3 | 17.6 | 37.1 | 1.34 | 0.099
Lighting upgrade | 395 | 13.6 | 13 | 4.9 | 9.3 | 17.8 | 39.2 | 1.36 | 0.099
Electrical upgrade | 399 | 14.1 | 13 | 5.4 | 10.2 | 18.6 | 39.4 | 1.39 | 0.099
Plumbing system upgrade | 379 | 13.9 | 12.6 | 5.4 | 10.4 | 18.6 | 37.5 | 1.38 | 0.099
Insulation upgrade | 351 | 13.5 | 12.6 | 4.3 | 9.3 | 16.9 | 33.5 | 1.29 | 0.096
Fire, safety, or security upgrade | 484 | 13.8 | 13.2 | 5.5 | 10.8 | 19.9 | 48.1 | 1.37 | 0.099
Structural upgrade | 439 | 15.1 | 12.4 | 5.8 | 10.2 | 20.1 | 43.1 | 1.48 | 0.098
Other | 554 | 17.6 | 19.4 | 3.1 | 11.1 | 16.1 | 50.9 | 1.61 | 0.092
No renovations | 156 | 12 | 14.4 | 3.9 | 8.3 | 14.7 | 15.9 | 1.23 | 0.102
Buildings constructed 2013 or later | 286 | 13.1 | 15 | 5.1 | 9.3 | 19.8 | 25.9 | 1.19 | 0.091
Energy sources (more than one may apply)
Electricity | 214 | 12.6 | 13.7 | 4.2 | 8.7 | 15.8 | 21.2 | 1.26 | 0.099
Natural gas | 289 | 12.7 | 14.1 | 4.2 | 8.5 | 16.1 | 28.6 | 1.26 | 0.099
Fuel oil | 604 | 16.6 | 14.5 | 4.3 | 9.4 | 16.3 | 58.4 | 1.61 | 0.097
District heat | 1315 | 16.8 | 15.3 | 7.1 | 10.3 | 16.4 | 119.7 | 1.53 | 0.091
District chilled water | 1336 | 17.2 | 16.1 | 8.1 | 11.4 | 16.4 | 116.5 | 1.5 | 0.087
Propane | 178 | 11.8 | 17 | 3.4 | 7.6 | 14.2 | 18.3 | 1.21 | 0.103
Solar | 503 | 12.8 | 12.7 | 7.9 | 11.8 | 16.6 | 57.7 | 1.47 | 0.115
Wood, coal, and other | 139 | 11.8 | 14.3 | 2.3 | 5.4 | 9.8 | 13.7 | 1.17 | 0.099
Space-heating energy sources
Electricity | 261 | 14.7 | 14.5 | 5.7 | 11.1 | 20 | 24.9 | 1.4 | 0.095
Electricity main | 225 | 15.2 | 14.2 | 6.3 | 11.8 | 21.1 | 21.5 | 1.44 | 0.095
Electricity secondary | 354 | 13.9 | 15 | 4.5 | 9 | 16.8 | 34 | 1.34 | 0.096
Other excluding electricity | 200 | 10.8 | 12.7 | 3.3 | 7 | 11.9 | 20.6 | 1.12 | 0.103
Buildings without heating | 88 | 10.1 | 15.2 | 2.5 | 8.4 | 12.4 | 10.1 | 1.16 | 0.115
Primary space-heating energy source
Electricity | 225 | 15.2 | 14.2 | 6.3 | 11.8 | 21.1 | 21.5 | 1.44 | 0.095
Natural gas | 246 | 11.5 | 13.4 | 3.6 | 7.5 | 13.5 | 24.7 | 1.16 | 0.1
Fuel oil | 76 | 7.6 | 10 | 2.8 | 6.6 | 10.9 | 9.3 | 0.93 | 0.122
District heat | 1283 | 16.4 | 14.9 | 7.1 | 10.9 | 16.4 | 120.2 | 1.54 | 0.094
Propane | 62 | 9.1 | 11.8 | 3.1 | 6.7 | 10.1 | 7.4 | 1.1 | 0.12
Other sourcesb | 35 | 5.9 | 9.6 | 2.1 | 5.4 | 7.9 | 3.9 | 0.65 | 0.11
Cooling energy sources
Electricity | 240 | 13 | 13.6 | 4.9 | 9.5 | 17.5 | 23.8 | 1.29 | 0.099
Other excluding electricity | 1026 | 16.1 | 15.7 | 7 | 10.4 | 16.4 | 89 | 1.4 | 0.087
Buildings without cooling | 53 | 7.1 | 15 | 1.8 | 4.5 | 9.6 | 5.9 | 0.8 | 0.112
Water-heating energy sources
Electricity | 228 | 13.5 | 13.6 | 4.6 | 9.8 | 18.1 | 22.3 | 1.32 | 0.098
Other excluding electricity | 284 | 12.6 | 14.2 | 4.6 | 8.7 | 15.5 | 28.6 | 1.27 | 0.101
Buildings without water heating | 48 | 6.9 | 11.3 | 2.2 | 6.9 | 10.5 | 5.4 | 0.77 | 0.111
Cooking energy sources
Electricity | 394 | 15.7 | 16.1 | 5.4 | 10.8 | 22.9 | 37.6 | 1.5 | 0.095
Other excluding electricity | 349 | 13.9 | 15.2 | 6.5 | 12.8 | 28.3 | 34.8 | 1.39 | 0.1
Buildings without cooking | 139 | 10.5 | 11.8 | 3.8 | 7.9 | 13.2 | 14.3 | 1.08 | 0.103
Energy end uses (more than one may apply)
Buildings with space heating | 232 | 12.8 | 13.7 | 4.3 | 8.9 | 16.1 | 22.9 | 1.26 | 0.099
Buildings with cooling | 248 | 13.1 | 13.7 | 4.9 | 9.5 | 17.4 | 24.5 | 1.3 | 0.099
Buildings with water heating | 250 | 13.1 | 13.9 | 4.6 | 9.3 | 17.3 | 24.8 | 1.3 | 0.099
Buildings with cooking | 380 | 15.2 | 15.8 | 5.7 | 11.2 | 24.1 | 36.8 | 1.47 | 0.097
Buildings with manufacturing | 266 | 12.5 | 17 | 2.9 | 6.6 | 11.5 | 27.5 | 1.29 | 0.103
Buildings with electricity generation | 675 | 16.1 | 14.6 | 5.7 | 10.5 | 18.2 | 65.4 | 1.56 | 0.097
Buildings with lighting | 217 | 12.7 | 13.7 | 4.2 | 8.7 | 16 | 21.6 | 1.26 | 0.099
Percentage of floorspace heated
Not heated | 88 | 10.1 | 15.2 | 2.5 | 8.4 | 12.4 | 10.1 | 1.16 | 0.115
1% to 50% | 136 | 8.9 | 14.5 | 2.6 | 5.6 | 11.7 | 14 | 0.91 | 0.102
51% to 99% | 304 | 13.7 | 13.7 | 4.5 | 9.6 | 16.5 | 29.7 | 1.33 | 0.098
100% | 232 | 13.2 | 13.6 | 4.9 | 9.2 | 16.7 | 22.9 | 1.3 | 0.098
Percentage of floorspace cooled
Not cooled | 53 | 7.1 | 15 | 1.8 | 4.5 | 9.6 | 5.9 | 0.8 | 0.112
1% to 50% | 121 | 6.8 | 12.3 | 2.9 | 5.5 | 10 | 13 | 0.73 | 0.107
51% to 99% | 380 | 14.4 | 14.3 | 5.8 | 10.3 | 17.8 | 37.2 | 1.41 | 0.098
100% | 251 | 15.3 | 13.7 | 6.6 | 11.5 | 20.9 | 24.5 | 1.49 | 0.098
Percentage lit when open
0% | Q | Q | Q | Q | Q | Q | Q | Q | Q
1% to 50% | 80 | 7.2 | 15.3 | 2.6 | 5.5 | 10.6 | 8.6 | 0.78 | 0.107
51% to 99% | 302 | 13.9 | 14.1 | 5 | 10 | 18.1 | 29.4 | 1.35 | 0.097
100% | 241 | 13.7 | 13.1 | 5.5 | 10.1 | 18.7 | 24.1 | 1.37 | 0.1
Building never open or electricity not used | 29 | 4.2 | Q | 1.2 | 4 | 8.3 | 3.1 | 0.45 | 0.106
Percentage lit during off hours
0% | 57 | 7.6 | 10.7 | 2.8 | 6.6 | 11.3 | 6.7 | 0.89 | 0.117
1% to 50% | 271 | 12.6 | 13 | 5.2 | 10 | 17.5 | 26.7 | 1.24 | 0.098
51% to 100% | 650 | 21.4 | 23.9 | 5.6 | 12.1 | 30 | 60.7 | 1.99 | 0.093
Building always open with no off hours | 592 | 20.1 | 25.3 | 8.5 | 20.9 | 32.8 | 55.1 | 1.87 | 0.093
Electricity not used | N | N | N | N | N | N | N | N | N
Heating equipment (more than one may apply)
Packaged heating units | 303 | 13.8 | 14.8 | 6.4 | 11.4 | 20.6 | 29.6 | 1.35 | 0.098
Furnaces | 116 | 10.9 | 13.5 | 3.4 | 7.3 | 12.7 | 11.5 | 1.08 | 0.099
Individual space heaters | 208 | 12.3 | 15 | 3.5 | 7.1 | 13.8 | 20.2 | 1.19 | 0.097
Boilers | 541 | 13.2 | 13.4 | 4.7 | 9.3 | 16.2 | 52.6 | 1.28 | 0.097
Heat pumps | 332 | 14.8 | 15 | 6.2 | 11.3 | 17.8 | 31.6 | 1.41 | 0.095
District heat | 1298 | 16.4 | 14.9 | 7.1 | 10.5 | 16.4 | 120.8 | 1.52 | 0.093
Duct reheat | 947 | 17.2 | 12.9 | 7.2 | 15.3 | 20.9 | 87.2 | 1.58 | 0.092
Other | 1797 | 36.9 | 45 | 7.1 | 34.9 | 40.2 | 158.2 | 3.25 | 0.088
Cooling equipment (more than one may apply)
Packaged air-conditioning units | 300 | 13.7 | 14.3 | 5.9 | 11.3 | 20.9 | 29.9 | 1.36 | 0.1
Residential-type central air conditioners | 164 | 11.7 | 12.8 | 4 | 7.9 | 14.3 | 16.5 | 1.18 | 0.101
Individual air conditioners | 238 | 12.8 | 17.3 | 4 | 7.5 | 14.5 | 23.6 | 1.27 | 0.099
Central chillers | 1424 | 16 | 13.2 | 8 | 12.5 | 21 | 136.6 | 1.54 | 0.096
Heat pumps | 311 | 13.8 | 12.9 | 5.9 | 10.6 | 15.8 | 31.1 | 1.38 | 0.1
District chilled water | 1336 | 17.2 | 16.1 | 8.1 | 11.4 | 16.4 | 116.5 | 1.5 | 0.087
Swamp coolers | 319 | 13 | 12.6 | 3.8 | 10.1 | 21.5 | 32.4 | 1.32 | 0.102
Other | Q | Q | Q | Q | Q | Q | Q | Q | Q
HVAC features (more than one may apply)
Economizer cycle | 685 | 15 | 13.7 | 6.6 | 11.4 | 20.7 | 66.9 | 1.47 | 0.098
Variable air volume (VAV) system | 627 | 14.9 | 12.6 | 5.6 | 11.1 | 18.2 | 60.6 | 1.44 | 0.097
Dedicated outside air system (DOAS) | 615 | 16.9 | 16.1 | 7.4 | 11.7 | 23.1 | 57.2 | 1.58 | 0.093
Demand controlled ventilation (DCV) | 404 | 13.5 | 14.3 | 4.6 | 9.9 | 18 | 40.4 | 1.35 | 0.1
Regular HVAC maintenance | 298 | 13.6 | 13.9 | 5.3 | 10.3 | 18.2 | 29.3 | 1.33 | 0.098
Building automation system (BAS) controls heating or cooling | 677 | 15.6 | 14.2 | 6.5 | 11.3 | 19.1 | 65 | 1.5 | 0.096
Internet-connected or smart thermostat | 218 | 11.9 | 14.6 | 5.1 | 9.4 | 18.2 | 21.1 | 1.15 | 0.097
Programmable thermostat | 141 | 10.4 | 12.3 | 4.7 | 9 | 16.2 | 14.8 | 1.09 | 0.105
Main equipment replaced since 2000 (more than one may apply)
Heating | 196 | 11.7 | 12.7 | 4 | 8.2 | 15.4 | 20.2 | 1.21 | 0.103
Cooling | 211 | 11.7 | 12.2 | 4.2 | 7.9 | 14.3 | 21.5 | 1.18 | 0.101
Water-heating equipment
Centralized system | 213 | 12.7 | 14.1 | 4.6 | 8.9 | 16.2 | 21.2 | 1.27 | 0.1
Distributed system | 246 | 13.4 | 13.5 | 4.6 | 10.3 | 20.2 | 24.2 | 1.32 | 0.098
Combination of centralized and distributed systems | 745 | 14.5 | 13.3 | 5.8 | 10.7 | 20.9 | 72.4 | 1.41 | 0.097
Generation technologies (more than one may apply)
Reciprocating engine generators | 714 | 16.4 | 14.6 | 5.4 | 10 | 17.9 | 68 | 1.57 | 0.095
Solar panels | 520 | 12.8 | 12.6 | 7.6 | 11.8 | 17 | 59.2 | 1.46 | 0.114
Other generation technology | 879 | 18.3 | 17 | 8.1 | 14.6 | 20.5 | 86.6 | 1.8 | 0.099
Lighting equipment types (more than one may apply)
Incandescent | 283 | 14.8 | 15.2 | 4.2 | 8.8 | 16.8 | 27.7 | 1.45 | 0.098
Standard fluorescent | 231 | 12.7 | 13.6 | 4.3 | 8.7 | 15.7 | 22.9 | 1.26 | 0.099
Compact fluorescent | 439 | 14.8 | 14.2 | 5.2 | 10.4 | 17.8 | 42.9 | 1.44 | 0.098
High-intensity discharge (HID) | 692 | 14.5 | 17.3 | 3.8 | 7.2 | 11.7 | 65.1 | 1.37 | 0.094
Halogen | 419 | 15.4 | 15.3 | 5.1 | 10.3 | 20 | 40.5 | 1.49 | 0.097
LED | 332 | 13.9 | 13.9 | 5 | 10.1 | 18.4 | 32.7 | 1.37 | 0.099
Other | Q | Q | Q | Q | Q | Q | Q | Q | Q
Refrigeration equipment (more than one may apply)
Any refrigeration | 272 | 13.5 | 14.2 | 4.9 | 9.8 | 18.3 | 26.8 | 1.33 | 0.098
Walk-in units | 774 | 18.6 | 18.3 | 12.6 | 25.4 | 47.2 | 73.2 | 1.76 | 0.095
Cases or cabinets | 597 | 17.5 | 16.9 | 9.9 | 20.7 | 35.9 | 57.1 | 1.67 | 0.096
Large cold storage areas | 1247 | 23.9 | 31.2 | 18.3 | 33.9 | 69.9 | 114.7 | 2.2 | 0.092
Commercial ice makers | 652 | 16.4 | 16.2 | 9 | 17.4 | 31.2 | 61.4 | 1.54 | 0.094
Residential-type or compact units | 248 | 12.7 | 13.2 | 4.5 | 9 | 15.9 | 24.5 | 1.26 | 0.099
Vending machines | 765 | 14.5 | 14.4 | 7.2 | 12.4 | 20.4 | 72.1 | 1.37 | 0.094
No refrigeration | 85 | 8.7 | 10.9 | 2.9 | 7 | 11.2 | 9.2 | 0.94 | 0.108
Office equipment (more than one may apply)
Desktop computers | 285 | 13.2 | 13.7 | 5.1 | 9.7 | 17 | 28.1 | 1.3 | 0.098
With multiple monitors | 468 | 13.9 | 12.5 | 5.9 | 10.1 | 17.4 | 45.6 | 1.35 | 0.097
Laptop computers | 326 | 13.1 | 12.9 | 4.8 | 9.4 | 16.3 | 32.1 | 1.29 | 0.098
Dedicated servers | 519 | 14.1 | 12.8 | 6.8 | 11.1 | 18.5 | 51.1 | 1.39 | 0.098
Tablets charged in building | 447 | 14.3 | 13.4 | 5.9 | 10.9 | 18.6 | 43.2 | 1.38 | 0.097
Large floor-standing office devicesc | 493 | 13.3 | 12.3 | 5.5 | 9.9 | 16 | 48.4 | 1.3 | 0.098
Smaller desktop office devicesc | 276 | 13.2 | 13.7 | 4.9 | 9.6 | 16.9 | 27.2 | 1.3 | 0.099
Interactive whiteboards | 823 | 12.7 | 11.7 | 6.2 | 10.1 | 15.3 | 79.1 | 1.22 | 0.096
Televisions or video displays | 361 | 13.9 | 13.8 | 5.6 | 10.6 | 19.9 | 35.2 | 1.36 | 0.097
Point-of-sale devices or cash registers | 396 | 16.7 | 15.6 | 8.8 | 15.9 | 29.9 | 38.1 | 1.61 | 0.096
Food preparation or serving areas in non-food service buildings (more than one may apply)
Snack bar, concession stand, or coffee shop | 1107 | 15.4 | 15.1 | 7.9 | 13.5 | 28.9 | 105.6 | 1.47 | 0.095
Fast food or small restaurant | 1092 | 17.9 | 16.2 | 12.5 | 21 | 33.1 | 101.5 | 1.67 | 0.093
Cafeteria or large restaurant | 1538 | 13.7 | 13.1 | 5.9 | 9.6 | 13.1 | 146.2 | 1.3 | 0.095
Commercial kitchen or food preparation area | 1007 | 16.2 | 19 | 6.4 | 11.2 | 21.5 | 94.2 | 1.51 | 0.094
Small kitchen area | 242 | 12 | 13 | 4.1 | 8.1 | 14.9 | 24 | 1.19 | 0.099
Separate computer areas (more than one may apply)
Server closet | 530 | 13.5 | 12.6 | 6.5 | 10.9 | 17.8 | 51.9 | 1.32 | 0.098
Data center | 1595 | 16.2 | 12.8 | 7.9 | 12.2 | 17.6 | 153.5 | 1.56 | 0.096
Computer-based training room | 1012 | 13.9 | 13.5 | 7.8 | 11 | 16 | 95.7 | 1.32 | 0.095
Student or public computer center | 650 | 12.2 | 15.8 | 7.1 | 11.1 | 16.4 | 60.4 | 1.14 | 0.093
Window and interior lighting features (more than one may apply)
Multipaned windows | 278 | 13.3 | 13.9 | 4.5 | 9.3 | 17.3 | 27.1 | 1.3 | 0.098
Tinted window glass | 376 | 14.1 | 13.2 | 5.4 | 10.9 | 19.2 | 36.7 | 1.37 | 0.097
Reflective window glass | 560 | 15.5 | 13.3 | 5.4 | 11.8 | 20.9 | 53.9 | 1.5 | 0.096
External overhangs or awnings | 274 | 14.3 | 15.3 | 6.1 | 11 | 19.3 | 26.8 | 1.4 | 0.098
Skylights or atriums | 508 | 13 | 14.1 | 4 | 8.6 | 14.6 | 49.4 | 1.26 | 0.097
Light scheduling | 573 | 15.5 | 14.3 | 6.3 | 12 | 20.9 | 55.1 | 1.49 | 0.096
Occupancy sensors | 597 | 13.8 | 13.1 | 5.6 | 10.5 | 17.6 | 59.3 | 1.37 | 0.099
Multilevel lighting or dimming | 670 | 15.4 | 14.1 | 6 | 9.9 | 16.4 | 63.5 | 1.46 | 0.095
Daylight harvesting | 862 | 16.4 | 12.4 | 8.3 | 12.4 | 20.3 | 79.4 | 1.51 | 0.092
Plug-load control | 626 | 18.4 | 16.9 | 9.2 | 14.7 | 37.5 | 57.1 | 1.68 | 0.091
Demand responsive lighting | 257 | 12.4 | 12.6 | 4.3 | 6 | 15.3 | 26.9 | 1.29 | 0.105
Building automation system (BAS) for lighting | 846 | 16.1 | 14.4 | 7.4 | 14.2 | 22.7 | 80.2 | 1.53 | 0.095
Electric vehicle (EV) charging
Charging stations associated with the building | 998 | 12.9 | 11.7 | 5.7 | 11.3 | 15.6 | 98.4 | 1.28 | 0.099
Annual consumption (kilowatthours)
10,000 or less | 5 | 1.5 | 2 | 0.9 | 1.9 | 3.3 | 0.9 | 0.23 | 0.161
10,001 to 50,000 | 27 | 4.8 | 6 | 3.6 | 6.9 | 10.8 | 3.5 | 0.63 | 0.13
50,001 to 100,000 | 71 | 8.1 | 10.5 | 7.2 | 10.3 | 18.6 | 8.1 | 0.92 | 0.114
100,001 to 500,000 | 212 | 11.3 | 12 | 8.8 | 15 | 28.9 | 22.2 | 1.18 | 0.105
500,001 to 1,000,000 | 686 | 13 | 15.2 | 10.3 | 15.9 | 26.4 | 66.7 | 1.27 | 0.097
1,000,001 to 5,000,000 | 1978 | 16.5 | 17.2 | 13 | 18.8 | 30.1 | 185.5 | 1.54 | 0.094
Over 5,000,000 | 11160 | 22.1 | 17.6 | 16 | 24.2 | 34.4 | 1022.5 | 2.02 | 0.092
Source: U.S. Energy Information Administration, Forms EIA-871A, C, D, E and F of the 2018 Commercial Buildings Energy Consumption Survey Notes: Because of rounding, data may not sum to totals. The Guide to the 2018 CBECS Tables and CBECS Terminology contain definitions of terms used in these tables and comparisons between previous CBECS tables. You can access both references from http://www.eia.gov/consumption/commercial/data/2018/. Data are sample survey estimates with RSEs published in a tab on the Excel worksheet for this table. Estimates in the energy end uses category represent total consumption in buildings that have the end use but not the consumption specifically for that end use. HVAC = Heating, ventilation, and air conditioning. aClimate zones are based on ASHRAE Standard 169-2021; see https://www.eia.gov/consumption/commercial/maps.php#defined. bOther sources includes wood, coal, solar, and all other energy sources. cOffice devices refers to any combination of printers, copiers, scanners, or FAX machines. Q = Data withheld either because the relative standard error (RSE) was greater than 50% or fewer than 20 buildings in reporting sample. N = No buildings in reporting sample.

## rse
Preliminary data release date: September 2022
RSEs for Table C14. Electricity consumption and expenditure intensities, 2018
| RSEs for electricity consumption | [5 empty] | RSEs for electricity expenditures
|  |  |  | RSEs not available for percentiles |  |  | per building | per square foot | per kwh
| per building | per square foot | per worker | 25th per- centile | Median | 75th per- centile
All buildings | 3.52 | 2.05 | 2.16 | − | − | − | 3.46 | 2.04 | 1.09
Building floorspace (square feet)
1,001 to 5,000 | 4.54 | 4.75 | 4.93 | − | − | − | 4.09 | 4.34 | 2.43
5,001 to 10,000 | 6.18 | 6.11 | 5 | − | − | − | 6.05 | 5.98 | 2.38
10,001 to 25,000 | 7.72 | 7.64 | 8.85 | − | − | − | 6.36 | 6.42 | 2.92
25,001 to 50,000 | 4.82 | 4.85 | 6.99 | − | − | − | 5.08 | 5.05 | 2.33
50,001 to 100,000 | 3.54 | 3.54 | 4.43 | − | − | − | 3.29 | 3.23 | 1.75
100,001 to 200,000 | 3.55 | 3.52 | 5.81 | − | − | − | 3.42 | 3.38 | 1.63
200,001 to 500,000 | 5.09 | 4.99 | 5.5 | − | − | − | 4.92 | 4.87 | 2.58
Over 500,000 | 5.46 | 4.54 | 7.01 | − | − | − | 5.04 | 4.62 | 2.25
Principal building activity
Education | 7.62 | 2.66 | 3.13 | − | − | − | 7.15 | 2.52 | 1.75
Food sales | 21.51 | 14.54 | 20.85 | − | − | − | 18.08 | 9.16 | 7.98
Food service | 6.84 | 4.74 | 6.28 | − | − | − | 6.41 | 4.41 | 2.98
Health care | 10.8 | 4.27 | 5.03 | − | − | − | 9.82 | 3.43 | 3.67
Inpatient | 18.89 | 5.44 | 5.55 | − | − | − | 17.98 | 4.19 | 4.81
Outpatient | 9.97 | 4.15 | 6.87 | − | − | − | 10.02 | 5.1 | 2.99
Lodging | 10.29 | 4.6 | 6.19 | − | − | − | 9.42 | 4.07 | 2.43
Mercantile | 8.15 | 3.08 | 3.27 | − | − | − | 8.18 | 3.42 | 1.42
Retail (other than mall) | 9.46 | 5.25 | 5.93 | − | − | − | 9.76 | 5.7 | 2.11
Enclosed and strip malls | 8.82 | 2.45 | 4.65 | − | − | − | 8.88 | 3.35 | 2.06
Office | 7.52 | 2.37 | 2.83 | − | − | − | 7.44 | 2.36 | 1.46
Public assembly | 8.1 | 5.16 | 7.7 | − | − | − | 7.94 | 4.41 | 2.2
Public order and safety | 20.33 | 7.11 | 11.95 | − | − | − | 18.97 | 6.97 | 7.26
Religious worship | 7.62 | 5.79 | 9.35 | − | − | − | 6.85 | 4.86 | 2.4
Service | 7.62 | 6.57 | 7.56 | − | − | − | 7.68 | 6.57 | 2.75
Warehouse and storage | 8.94 | 5.3 | 6.8 | − | − | − | 8.74 | 5.34 | 2.46
Other | 19.28 | 11.58 | 19.11 | − | − | − | 19.51 | 13.35 | 5.78
Vacant | 15.62 | 13.59 | 89.83 | − | − | − | 13.8 | 13.14 | 3.98
Year constructed
Before 1920 | 16.28 | 11.47 | 12.54 | − | − | − | 14.37 | 9.2 | 4.1
1920 to 1945 | 10.36 | 5.78 | 6.33 | − | − | − | 9.75 | 6.04 | 2.25
1946 to 1959 | 9 | 6.9 | 8.41 | − | − | − | 7.37 | 5.71 | 3.22
1960 to 1969 | 7.75 | 4.97 | 5.47 | − | − | − | 7.29 | 4.88 | 2.11
1970 to 1979 | 6.46 | 5.17 | 5.52 | − | − | − | 6.89 | 5.16 | 2.15
1980 to 1989 | 7.49 | 3.91 | 5.07 | − | − | − | 7.78 | 4.7 | 2.1
1990 to 1999 | 5.54 | 4.12 | 4.98 | − | − | − | 5.84 | 4.36 | 1.91
2000 to 2009 | 7.3 | 4.78 | 6.04 | − | − | − | 6.91 | 4.32 | 1.99
2010 to 2018 | 10.74 | 6.09 | 6.96 | − | − | − | 10.46 | 5.51 | 2.83
Census region and division
Northeast | 8.81 | 5.11 | 6.12 | − | − | − | 8.63 | 5.82 | 2.04
New England | 10.64 | 6.53 | 10.41 | − | − | − | 10.57 | 7 | 1.15
Middle Atlantic | 11.21 | 6.37 | 7.38 | − | − | − | 11.64 | 7.18 | 1.88
Midwest | 9.33 | 4.55 | 4.69 | − | − | − | 8.81 | 3.88 | 2.26
East North Central | 7.48 | 4.01 | 4.47 | − | − | − | 6.6 | 3.73 | 2.46
West North Central | 25.93 | 11.6 | 11.23 | − | − | − | 25.03 | 9.37 | 4.46
South | 4.39 | 2.78 | 3.01 | − | − | − | 4.35 | 2.95 | 1.41
South Atlantic | 7.48 | 4.02 | 3.15 | − | − | − | 6.96 | 3.94 | 1.82
East South Central | 8.01 | 6.23 | 5.81 | − | − | − | 9 | 5.3 | 2.27
West South Central | 8.21 | 4.75 | 6.87 | − | − | − | 7.41 | 5.34 | 3.35
West | 8.33 | 4.81 | 4.18 | − | − | − | 7.75 | 4.68 | 3.06
Mountain | 15.66 | 6.78 | 6.47 | − | − | − | 14.98 | 5.18 | 3.66
Pacific | 9 | 6.52 | 5.37 | − | − | − | 8.65 | 6.38 | 3.02
Climate zonea
Cold or very cold | 25.18 | 13.84 | 13.23 | − | − | − | 21.62 | 11.03 | 4.7
Cool | 7.62 | 3.13 | 4.46 | − | − | − | 8.06 | 2.91 | 2.57
Mixed mild | 9.87 | 3.63 | 4.2 | − | − | − | 9.75 | 4.27 | 2.1
Warm | 5.05 | 3.8 | 3.36 | − | − | − | 5.95 | 4.34 | 2.88
Hot or very hot | 8.97 | 5.03 | 5.09 | − | − | − | 8.43 | 5.33 | 3.99
Number of floors
1 | 4.22 | 3.15 | 3.63 | − | − | − | 3.97 | 3.09 | 1.6
2 | 4.86 | 2.99 | 4.26 | − | − | − | 5.13 | 3.32 | 1.59
3 | 9.12 | 5.09 | 6.31 | − | − | − | 8.87 | 4.99 | 2.08
4 to 9 | 8.65 | 3.89 | 4.84 | − | − | − | 8.3 | 3.8 | 2.69
10 or more | 8.38 | 4.92 | 6.69 | − | − | − | 7.45 | 4.9 | 2.54
Elevators and escalators (more than one may apply)
Any elevators | 5.26 | 2.37 | 2.68 | − | − | − | 5.34 | 2.54 | 1.55
1 elevator | 5.96 | 3.35 | 4.71 | − | − | − | 5.76 | 2.98 | 1.97
2 to 5 elevators | 5.45 | 3.98 | 4.98 | − | − | − | 5.48 | 4.12 | 2.01
6 or more elevators | 5.35 | 4.09 | 5.2 | − | − | − | 4.84 | 4.11 | 2.74
Any escalators | 35.44 | 4.35 | 11.29 | − | − | − | 35.28 | 5.54 | 3.19
Number of workers (main shift)
Fewer than 5 | 5.08 | 4.32 | 5.78 | − | − | − | 5.28 | 4.48 | 1.76
5 to 9 | 10.41 | 9.86 | 10.48 | − | − | − | 7.81 | 7.5 | 3.73
10 to 19 | 5.34 | 5.51 | 5.06 | − | − | − | 5.26 | 5.67 | 2.57
20 to 49 | 5.86 | 4.17 | 5.45 | − | − | − | 5.59 | 4.12 | 1.69
50 to 99 | 5.05 | 3.94 | 4.86 | − | − | − | 5.38 | 4.85 | 2.14
100 to 249 | 4.22 | 3.01 | 4.51 | − | − | − | 4.2 | 3.06 | 2.01
250 or more | 5.73 | 3.14 | 4.17 | − | − | − | 5.74 | 3.36 | 2.33
Weekly operating hours
Fewer than 40 | 7.81 | 6.63 | 8.22 | − | − | − | 7.44 | 6.03 | 1.88
40 to 48 | 8.75 | 7.12 | 7.42 | − | − | − | 7.34 | 5.49 | 2.75
49 to 60 | 5 | 2.95 | 3.46 | − | − | − | 4.67 | 2.62 | 1.58
61 to 84 | 6.68 | 3.86 | 3.75 | − | − | − | 7.05 | 4.21 | 2.19
85 to 167 | 7.2 | 4.48 | 4.85 | − | − | − | 7.11 | 4.93 | 2.05
Open continuously | 8.26 | 3.22 | 4.53 | − | − | − | 8.18 | 3.4 | 1.67
Ownership and occupancy
Nongovernment owned | 3.9 | 2.34 | 2.64 | − | − | − | 3.75 | 2.33 | 1.1
Owner occupied | 4.91 | 3.06 | 3.2 | − | − | − | 4.74 | 2.82 | 1.42
Leased to tenant or tenants | 5.25 | 3.2 | 4.24 | − | − | − | 5.1 | 3.3 | 1.43
Unoccupied | 24.4 | 22.16 | 0 | − | − | − | 19.11 | 18.82 | 7.77
Government owned | 6.29 | 3.14 | 3.38 | − | − | − | 6.32 | 2.6 | 2.37
Federal | 30.23 | 5.77 | 9.67 | − | − | − | 29.69 | 6.48 | 3.85
State | 12.17 | 6.15 | 6.34 | − | − | − | 10.62 | 4.19 | 4.38
Local | 8.18 | 3.01 | 4.44 | − | − | − | 8.2 | 3.24 | 2.43
Party responsible for operation of energy systems
Building owner | 4.04 | 2.28 | 2.38 | − | − | − | 3.96 | 2.28 | 1.25
Business owner or tenant | 6.4 | 4.63 | 5.59 | − | − | − | 6.46 | 5.04 | 1.94
Property management | 18.06 | 7.21 | 9.99 | − | − | − | 17 | 7.6 | 3.32
Other | 14.77 | 8 | 12.13 | − | − | − | 14.74 | 6.97 | 3.51
Provider of direct input on energy- related equipment purchases
Building owner | 3.88 | 2.23 | 2.28 | − | − | − | 3.79 | 2.26 | 1.23
Business owner or tenant | 8.7 | 5.05 | 6.34 | − | − | − | 9.14 | 5.65 | 2.36
Property management | 28.87 | 10.54 | 13.66 | − | − | − | 27.03 | 9.64 | 4.05
Other | 9.62 | 6.27 | 7.88 | − | − | − | 9.68 | 6.6 | 2.77
Number of establishments
1 | 4.07 | 2.68 | 3.16 | − | − | − | 3.94 | 2.5 | 1.42
2 to 5 | 6.51 | 2.92 | 4.73 | − | − | − | 6.34 | 3.29 | 1.68
6 to 10 | 9.78 | 4.54 | 6.99 | − | − | − | 9.18 | 5.45 | 3.15
11 to 20 | 17.27 | 5.1 | 6.5 | − | − | − | 17.13 | 4.69 | 2.27
More than 20 | 13.87 | 4.83 | 7.86 | − | − | − | 14.26 | 4.58 | 2.12
Currently unoccupied | 21.57 | 18.75 | 0 | − | − | − | 17.48 | 16.14 | 6.2
Predominant exterior wall material
Brick, stone, or stucco | 4.43 | 2.52 | 2.63 | − | − | − | 4.33 | 2.26 | 1.25
Concrete (block or poured) | 6.07 | 4.67 | 4.27 | − | − | − | 6.04 | 4.87 | 1.68
Concrete panels | 11.92 | 6.19 | 6.89 | − | − | − | 11.93 | 6.55 | 2.65
Siding or shingles | 16.54 | 15.08 | 18.03 | − | − | − | 13.14 | 11.54 | 6.13
Metal panels | 7.88 | 5.41 | 6.91 | − | − | − | 8.26 | 5.87 | 3.1
Window glass | 20.04 | 4.21 | 7.33 | − | − | − | 21.46 | 7.26 | 5.07
Other | 14.94 | 8.58 | 9.38 | − | − | − | 13.15 | 8.36 | 4.34
Predominant roof material
Metal surfacing | 8.04 | 6.51 | 7.51 | − | − | − | 6.53 | 5.23 | 2.87
Synthetic or rubber | 5.26 | 2.59 | 3.19 | − | − | − | 5.03 | 2.95 | 1.6
Built-up | 7.78 | 3.2 | 3.76 | − | − | − | 7.44 | 3.25 | 1.84
Slate or tile shingles | 8.35 | 6.25 | 10.19 | − | − | − | 8.89 | 6.26 | 3.13
Wooden materials (including shingles) | 14.38 | 9.7 | 11.06 | − | − | − | 14.89 | 8.85 | 3.86
Asphalt, fiberglass, or other shingles | 5.7 | 4.68 | 5.8 | − | − | − | 6 | 5 | 1.88
Concrete | 20.24 | 11.57 | 14.63 | − | − | − | 18.45 | 8.92 | 4.3
Other | 15.33 | 13.66 | 15.69 | − | − | − | 16.92 | 16.77 | 5.33
Roof tilt
Flat | 4.87 | 2.26 | 2.41 | − | − | − | 4.71 | 2.33 | 1.17
Shallow pitch | 4.98 | 3.72 | 3.87 | − | − | − | 5.18 | 4.03 | 2.03
Steeper pitch | 9.7 | 7.96 | 9.92 | − | − | − | 7.74 | 5.91 | 2.95
Cool roof characteristics (more than one may apply)
White or reflective coating or paint | 5.91 | 3.09 | 3.62 | − | − | − | 5.42 | 2.66 | 1.6
White or reflective tiles or shingles | 16.09 | 10.95 | 12.91 | − | − | − | 14.5 | 10.27 | 5.45
Aluminum coating | 9.42 | 7.38 | 6.86 | − | − | − | 8.43 | 6.27 | 3.33
Ballasted roof system | 14.93 | 4.18 | 7.73 | − | − | − | 14.3 | 3.72 | 2.31
Other cool roof property | 29.59 | 8.31 | 14.26 | − | − | − | 27.25 | 8.99 | 5.36
Renovations since 2000 (more than one may apply)
Any type of renovation | 4.56 | 2.26 | 2.81 | − | − | − | 4.35 | 2.46 | 1.27
Addition or annex | 8.02 | 3.63 | 4.5 | − | − | − | 7.38 | 3.68 | 1.8
Reduction in floorspace | 22.07 | 7.53 | 10.63 | − | − | − | 21.61 | 7.63 | 2.26
Roof replacement | 5.75 | 2.7 | 3.96 | − | − | − | 5.5 | 2.93 | 1.64
Interior wall reconfiguration | 5.47 | 2.73 | 3.36 | − | − | − | 5.44 | 3.16 | 1.69
Window replacement | 9.88 | 4 | 5.96 | − | − | − | 9.36 | 3.78 | 2.16
HVAC equipment upgrade | 6.23 | 2.71 | 2.9 | − | − | − | 6.3 | 3.35 | 1.51
Lighting upgrade | 5.22 | 2.65 | 3.13 | − | − | − | 5.08 | 2.75 | 1.35
Electrical upgrade | 6.96 | 3.55 | 4 | − | − | − | 6.96 | 4.23 | 1.81
Plumbing system upgrade | 7.19 | 2.95 | 3.73 | − | − | − | 6.91 | 3.44 | 1.83
Insulation upgrade | 10.49 | 4.58 | 6.33 | − | − | − | 10.22 | 5.38 | 2.5
Fire, safety, or security upgrade | 6.03 | 3.04 | 3.83 | − | − | − | 5.84 | 3.48 | 1.67
Structural upgrade | 14.28 | 6.14 | 8.6 | − | − | − | 13.98 | 8.42 | 4.1
Other | 29.88 | 9.69 | 8.92 | − | − | − | 28.92 | 9.73 | 3.66
No renovations | 4.65 | 3.31 | 3.6 | − | − | − | 4.39 | 3.1 | 1.49
Buildings constructed 2013 or later | 12.13 | 7.18 | 7.4 | − | − | − | 11.08 | 5.59 | 3.53
Energy sources (more than one may apply)
Electricity | 3.52 | 2.05 | 2.16 | − | − | − | 3.46 | 2.04 | 1.09
Natural gas | 4.23 | 2.06 | 2.4 | − | − | − | 4.11 | 2.11 | 1.05
Fuel oil | 10.06 | 4.47 | 4.98 | − | − | − | 10.08 | 4.68 | 2.05
District heat | 14.15 | 5.62 | 7.08 | − | − | − | 13.42 | 5.06 | 3.89
District chilled water | 18.91 | 7.34 | 8.7 | − | − | − | 18.56 | 6.7 | 5.41
Propane | 14.3 | 9.98 | 10.76 | − | − | − | 12.02 | 7.75 | 4.55
Solar | 13.91 | 4.64 | 6.5 | − | − | − | 14.18 | 5.59 | 3.51
Wood, coal, and other | 18.39 | 12.47 | 11.69 | − | − | − | 18.53 | 13.49 | 6.27
Space-heating energy sources
Electricity | 4.15 | 2.56 | 3.36 | − | − | − | 4.02 | 2.42 | 1.33
Electricity main | 5.14 | 3.31 | 5.11 | − | − | − | 4.89 | 2.85 | 1.7
Electricity secondary | 6.2 | 3.35 | 4.58 | − | − | − | 5.89 | 3.58 | 2.1
Other excluding electricity | 5.08 | 2.64 | 3.24 | − | − | − | 5.26 | 2.91 | 1.32
Buildings without heating | 9.56 | 9.84 | 10.67 | − | − | − | 10.53 | 11.34 | 3.85
Primary space-heating energy source
Electricity | 5.14 | 3.31 | 5.11 | − | − | − | 4.89 | 2.85 | 1.7
Natural gas | 4.55 | 2.34 | 3.04 | − | − | − | 4.55 | 2.61 | 1.28
Fuel oil | 13.88 | 8.69 | 9.2 | − | − | − | 13.43 | 10.2 | 4.98
District heat | 15.36 | 4.78 | 6.95 | − | − | − | 14.66 | 5.33 | 3.54
Propane | 22.53 | 15.87 | 18.45 | − | − | − | 23.39 | 17.73 | 6.68
Other sourcesb | 26.64 | 14.22 | 24.01 | − | − | − | 21.81 | 12.52 | 7.48
Cooling energy sources
Electricity | 3.12 | 1.84 | 2.19 | − | − | − | 3.21 | 2 | 1.04
Other excluding electricity | 22.38 | 9.59 | 10.82 | − | − | − | 20.99 | 7.75 | 6.65
Buildings without cooling | 23.25 | 21.07 | 29.12 | − | − | − | 17.41 | 15.52 | 9.12
Water-heating energy sources
Electricity | 4.43 | 2.97 | 3.68 | − | − | − | 4.1 | 2.7 | 1.45
Other excluding electricity | 4.77 | 2.61 | 2.59 | − | − | − | 4.62 | 2.71 | 1.5
Buildings without water heating | 10.01 | 8.2 | 12.04 | − | − | − | 10.96 | 9.71 | 3.72
Cooking energy sources
Electricity | 5 | 2.99 | 3.99 | − | − | − | 4.85 | 2.73 | 1.43
Other excluding electricity | 8.14 | 3.31 | 4.87 | − | − | − | 7.55 | 3.29 | 1.89
Buildings without cooking | 4.45 | 3.06 | 3.23 | − | − | − | 4.53 | 3.23 | 1.53
Energy end uses (more than one may apply)
Buildings with space heating | 3.6 | 2.05 | 2.19 | − | − | − | 3.49 | 1.99 | 1.09
Buildings with cooling | 3.13 | 1.83 | 2.06 | − | − | − | 3.19 | 1.97 | 1.05
Buildings with water heating | 3.43 | 2.04 | 2.18 | − | − | − | 3.33 | 2.01 | 1.1
Buildings with cooking | 4.16 | 2.44 | 3 | − | − | − | 3.97 | 2.25 | 1.25
Buildings with manufacturing | 16.84 | 13.69 | 14.1 | − | − | − | 14.55 | 11 | 4.93
Buildings with electricity generation | 7.85 | 3.41 | 4 | − | − | − | 7.91 | 3.48 | 1.6
Buildings with lighting | 3.59 | 2.04 | 2.16 | − | − | − | 3.54 | 2.04 | 1.09
Percentage of floorspace heated
Not heated | 9.56 | 9.84 | 10.67 | − | − | − | 10.53 | 11.34 | 3.85
1% to 50% | 9.45 | 6.14 | 6.97 | − | − | − | 9.01 | 5.89 | 2.82
51% to 99% | 6.26 | 2.99 | 3.9 | − | − | − | 6.03 | 3.19 | 1.61
100% | 4.08 | 2.6 | 2.87 | − | − | − | 3.87 | 2.43 | 1.29
Percentage of floorspace cooled
Not cooled | 23.25 | 21.07 | 29.12 | − | − | − | 17.41 | 15.52 | 9.12
1% to 50% | 5.9 | 4.55 | 4.95 | − | − | − | 6.34 | 5.24 | 2.12
51% to 99% | 5.65 | 3.15 | 3.59 | − | − | − | 5.6 | 3.51 | 1.33
100% | 3.79 | 2.33 | 2.77 | − | − | − | 3.71 | 2.17 | 1.27
Percentage lit when open
0% | 40.65 | 24.62 | 58.83 | − | − | − | 42.36 | 25.69 | 5.22
1% to 50% | 5.96 | 4.83 | 7.62 | − | − | − | 6.09 | 4.86 | 2.05
51% to 99% | 5.34 | 3.06 | 3.35 | − | − | − | 5.06 | 2.9 | 1.24
100% | 4.63 | 2.49 | 3.02 | − | − | − | 4.49 | 2.55 | 1.44
Building never open or electricity not used | 12.58 | 11.13 | 33.63 | − | − | − | 11.05 | 10.13 | 5.85
Percentage lit during off hours
0% | 5.99 | 5.16 | 6.03 | − | − | − | 5.9 | 5.02 | 2.29
1% to 50% | 3.53 | 2.3 | 2.41 | − | − | − | 3.39 | 2.26 | 1.12
51% to 100% | 12.26 | 5.8 | 7.01 | − | − | − | 11.75 | 5.7 | 3.48
Building always open with no off hours | 25.72 | 6.89 | 12.27 | − | − | − | 26.43 | 7.37 | 3.35
Electricity not used | 0 | 0 | 0 | − | − | − | 0 | 0 | 0
Heating equipment (more than one may apply)
Packaged heating units | 3.77 | 2.27 | 2.84 | − | − | − | 3.55 | 2.31 | 1.26
Furnaces | 6.33 | 3.87 | 4.16 | − | − | − | 5.86 | 3.62 | 1.64
Individual space heaters | 6.43 | 3.99 | 4.2 | − | − | − | 6.3 | 4.18 | 2.06
Boilers | 6.37 | 3.69 | 4.02 | − | − | − | 5.81 | 3.02 | 1.68
Heat pumps | 6.69 | 3.44 | 4.3 | − | − | − | 6.9 | 3.29 | 2.16
District heat | 14.55 | 4.53 | 6.78 | − | − | − | 14.08 | 5.07 | 3.23
Duct reheat | 12.04 | 3.21 | 5.99 | − | − | − | 12.02 | 4.05 | 2.31
Other | 47.52 | 30.18 | 38.11 | − | − | − | 34.5 | 24.17 | 12.3
Cooling equipment (more than one may apply)
Packaged air-conditioning units | 4.23 | 2.27 | 2.78 | − | − | − | 4.12 | 2.38 | 1.17
Residential-type central air conditioners | 5.35 | 3.66 | 3.93 | − | − | − | 5.88 | 3.9 | 1.92
Individual air conditioners | 6.64 | 4.03 | 5.33 | − | − | − | 6.15 | 3.77 | 2.05
Central chillers | 8.92 | 2.59 | 3.88 | − | − | − | 9.15 | 2.94 | 1.56
Heat pumps | 9.99 | 3.99 | 5.15 | − | − | − | 10.53 | 4.62 | 2.64
District chilled water | 18.91 | 7.34 | 8.7 | − | − | − | 18.56 | 6.7 | 5.41
Swamp coolers | 11.52 | 7.32 | 12.21 | − | − | − | 12.02 | 6.92 | 4.56
Other | 74.52 | 41.34 | 51.45 | − | − | − | 76.34 | 46.04 | 5.46
HVAC features (more than one may apply)
Economizer cycle | 5.83 | 2.37 | 3.27 | − | − | − | 5.75 | 2.58 | 1.43
Variable air volume (VAV) system | 8.3 | 3.09 | 4.09 | − | − | − | 8.33 | 3.43 | 1.81
Dedicated outside air system (DOAS) | 13.09 | 8.39 | 9.75 | − | − | − | 11.86 | 7.29 | 3.74
Demand controlled ventilation (DCV) | 8.95 | 4.53 | 5.67 | − | − | − | 8.95 | 5.08 | 2.17
Regular HVAC maintenance | 3.38 | 1.92 | 2.28 | − | − | − | 3.3 | 2 | 1.1
Building automation system (BAS) controls heating or cooling | 6.23 | 2.82 | 3.61 | − | − | − | 6.2 | 2.96 | 1.38
Internet-connected or smart thermostat | 9.5 | 6.2 | 9.08 | − | − | − | 10.23 | 6.57 | 3.26
Programmable thermostat | 4.47 | 3.12 | 3.94 | − | − | − | 4.59 | 3.39 | 1.98
Main equipment replaced since 2000 (more than one may apply)
Heating | 4.64 | 2.83 | 3.23 | − | − | − | 4.72 | 3.18 | 1.25
Cooling | 4.57 | 2.7 | 3.47 | − | − | − | 4.37 | 2.82 | 1.52
Water-heating equipment
Centralized system | 4.01 | 2.67 | 2.8 | − | − | − | 3.76 | 2.5 | 1.46
Distributed system | 8.75 | 4.99 | 5.98 | − | − | − | 8.78 | 5.52 | 2.17
Combination of centralized and distributed systems | 7.49 | 3.05 | 4.63 | − | − | − | 7.35 | 3.51 | 1.71
Generation technologies (more than one may apply)
Reciprocating engine generators | 9.58 | 3.81 | 4.34 | − | − | − | 9.63 | 3.84 | 1.76
Solar panels | 13.76 | 4.72 | 6.77 | − | − | − | 14.14 | 5.74 | 3.61
Other generation technology | 21.8 | 12.69 | 15.75 | − | − | − | 22.37 | 13.59 | 4.81
Lighting equipment types (more than one may apply)
Incandescent | 7.9 | 3.36 | 4.36 | − | − | − | 7.79 | 3.24 | 1.48
Standard fluorescent | 3.79 | 2.26 | 2.4 | − | − | − | 3.64 | 2.25 | 1.17
Compact fluorescent | 4.8 | 2.13 | 2.71 | − | − | − | 4.75 | 2.4 | 1.32
High-intensity discharge (HID) | 10.7 | 4.5 | 6.18 | − | − | − | 10.35 | 4.37 | 2.71
Halogen | 9 | 3.4 | 4.24 | − | − | − | 8.94 | 3.62 | 1.61
LED | 4 | 2.44 | 2.69 | − | − | − | 3.86 | 2.47 | 1.22
Other | 62.09 | 7.76 | 15.91 | − | − | − | 71.9 | 4.24 | 8.77
Refrigeration equipment (more than one may apply)
Any refrigeration | 3.55 | 2.26 | 2.26 | − | − | − | 3.54 | 2.19 | 1.11
Walk-in units | 4.9 | 2.94 | 3.13 | − | − | − | 4.72 | 2.83 | 1.45
Cases or cabinets | 4.64 | 2.77 | 3.32 | − | − | − | 4.43 | 2.83 | 1.48
Large cold storage areas | 16.61 | 12.46 | 14.82 | − | − | − | 16.46 | 11.91 | 4.55
Commercial ice makers | 4.91 | 2.17 | 2.39 | − | − | − | 4.59 | 2.07 | 1.43
Residential-type or compact units | 3.96 | 2.35 | 2.54 | − | − | − | 3.91 | 2.3 | 1.15
Vending machines | 5.47 | 2.34 | 2.5 | − | − | − | 5.4 | 2.34 | 1.28
No refrigeration | 6.64 | 5.03 | 7.57 | − | − | − | 6.9 | 5.44 | 2.03
Office equipment (more than one may apply)
Desktop computers | 3.51 | 2.17 | 2.21 | − | − | − | 3.47 | 2.07 | 1.11
With multiple monitors | 4.73 | 2.44 | 2.41 | − | − | − | 4.54 | 2.42 | 1.27
Laptop computers | 3.55 | 2.09 | 2.34 | − | − | − | 3.66 | 2.17 | 1.08
Dedicated servers | 4.7 | 2.2 | 2.63 | − | − | − | 4.75 | 2.45 | 1.2
Tablets charged in building | 4.6 | 2.27 | 2.46 | − | − | − | 4.36 | 2.33 | 1.16
Large floor-standing office devicesc | 4.51 | 2.38 | 2.45 | − | − | − | 4.51 | 2.4 | 1.3
Smaller desktop office devicesc | 3.81 | 2.32 | 2.41 | − | − | − | 3.66 | 2.3 | 1.12
Interactive whiteboards | 8.91 | 3.74 | 4.21 | − | − | − | 8.73 | 4.08 | 2.19
Televisions or video displays | 3.91 | 2.26 | 2.46 | − | − | − | 3.85 | 2.32 | 1.15
Point-of-sale devices or cash registers | 5.04 | 2.52 | 3.01 | − | − | − | 4.96 | 2.63 | 1.43
Food preparation or serving areas in non-food service buildings (more than one may apply)
Snack bar, concession stand, or coffee shop | 10.83 | 3.07 | 5.73 | − | − | − | 10.62 | 3.85 | 2.05
Fast food or small restaurant | 9.38 | 2.76 | 5.17 | − | − | − | 8.9 | 3.44 | 2.01
Cafeteria or large restaurant | 8.29 | 2.19 | 3.64 | − | − | − | 8.25 | 2.69 | 1.76
Commercial kitchen or food preparation area | 7.55 | 2.7 | 3.38 | − | − | − | 7.65 | 3.31 | 1.7
Small kitchen area | 6.42 | 2.86 | 4.63 | − | − | − | 5.9 | 2.6 | 1.49
Separate computer areas (more than one may apply)
Server closet | 4.49 | 1.83 | 2.29 | − | − | − | 4.33 | 1.99 | 1.2
Data center | 14.29 | 5.18 | 5.58 | − | − | − | 14.13 | 5.71 | 2.67
Computer-based training room | 8.26 | 2.48 | 3.74 | − | − | − | 8.06 | 2.72 | 1.64
Student or public computer center | 8.74 | 2.8 | 3.81 | − | − | − | 7.84 | 2.72 | 1.94
Window and interior lighting features (more than one may apply)
Multipaned windows | 4.02 | 2.3 | 2.69 | − | − | − | 3.89 | 2.21 | 1.2
Tinted window glass | 4.13 | 2.35 | 2.58 | − | − | − | 4.01 | 2.32 | 1.28
Reflective window glass | 6.91 | 3.48 | 3.97 | − | − | − | 6.61 | 3.48 | 1.78
External overhangs or awnings | 4.48 | 2.87 | 2.62 | − | − | − | 4.34 | 2.81 | 1.61
Skylights or atriums | 7.72 | 2.82 | 4.51 | − | − | − | 7.32 | 2.57 | 1.92
Light scheduling | 5.27 | 2.59 | 3.28 | − | − | − | 5.05 | 2.69 | 1.47
Occupancy sensors | 5.8 | 2.43 | 2.62 | − | − | − | 6.04 | 2.69 | 1.36
Multilevel lighting or dimming | 9.17 | 3.85 | 4.51 | − | − | − | 8.86 | 3.49 | 2.32
Daylight harvesting | 12.37 | 5.45 | 6.92 | − | − | − | 11.95 | 4.3 | 3.15
Plug-load control | 26.52 | 15.74 | 15.17 | − | − | − | 22.27 | 11.27 | 9.47
Demand responsive lighting | 29.55 | 9.43 | 11.41 | − | − | − | 29.45 | 9.01 | 2.86
Building automation system (BAS) for lighting | 8.31 | 3.06 | 5.27 | − | − | − | 8.16 | 3.47 | 1.76
Electric vehicle (EV) charging
Charging stations associated with the building | 11.61 | 4.47 | 6.13 | − | − | − | 11.14 | 4.27 | 1.98
Annual consumption (kilowatthours)
10,000 or less | 4.2 | 7.28 | 12.44 | − | − | − | 5.27 | 7.07 | 3.5
10,001 to 50,000 | 1.75 | 3.64 | 3.66 | − | − | − | 3 | 3.9 | 2.2
50,001 to 100,000 | 1.25 | 4.6 | 5.19 | − | − | − | 2.77 | 4.53 | 2.6
100,001 to 500,000 | 1.75 | 2.74 | 3.65 | − | − | − | 2.44 | 2.88 | 1.5
500,001 to 1,000,000 | 1.06 | 3.06 | 5.55 | − | − | − | 2.16 | 3.44 | 1.95
1,000,001 to 5,000,000 | 2.1 | 3.65 | 4.58 | − | − | − | 2.58 | 3.4 | 1.53
Over 5,000,000 | 3.52 | 4.48 | 5.97 | − | − | − | 3.63 | 5.08 | 2.39
Source: U.S. Energy Information Administration, Forms EIA-871A, C, D, E, and F of the 2018 Commercial Buildings Energy Consumption Survey Note: RSE is a measure of the reliability or precision of a survey statistic. Variability occurs in survey statistics because the different samples that could be drawn would each produce different values for the survey statistics. Estimation of Standard Errors and What is a Relative Standard Error (RSE)? contain more information on how RSEs are estimated and used. Both references can be accessed from https://www.eia.gov/consumption/commercial/survey-background-technical-information.php aClimate zones are based on ASHRAE Standard 169-2021; see https://www.eia.gov/consumption/commercial/maps.php#defined. bOther sources includes wood, coal, solar, and all other energy sources. cOffice devices refers to any combination of printers, copiers, scanners, or FAX machines.